| General laboratory items, consumables (evaluation by lines) | Specifications | pieces |
| --- | --- | --- |
| Thermocouple Thermometer | Two K-type thermoelement, with Computer Output, dual, Measuring range -40°C - +250°C; resolution: 0,1 (–50…+199,9); 1,0 °C | 1 |
| Mini Vacuum and airflow membrane pump | Overpressure: 2.4 bar; Vacuum: 250 mbar; final pressure: 100 mbar; flow intensity 6 l/min | 1 |
| Magnetic stirrer | Can be used at 5 to 40°C in an incubator or cold room, max. stirring capacity H2O (ml) 1500, speed range (min-1) 0-2500, plate dimensions (mm) 160 | 1 |
| Magnetic stirrer | High-power driving magnet type "PCM" operated by a mono-phase motor for contiuous operation, chemically resistant housing, max. stirring capacity H2O (l) 8, speed range (min-1) up to 1200, | 1 |

1. részajánlati kör:

| Thermo scientific Ultracentrifuge tubes | 25 db/pakg Thermo scientific Ultracentrifuge tubes, Cat.: 03020, polycarbonate, 10ml, without caps; RCF: at least 240000g | 4 |
| --- | --- | --- |
| Xe discharge lamp | XBO 150W/1 | 2 |
| Notch Filter | Ø25 mm , CWL = 808 nm, FWHM = 34 nm, OD>4 | 1 |
| Notch Filter | Ø25 mm , CWL = 533 nm, FWHM = 17 nm, OD>4 | 1 |

2. részajánlati kör:

| Spectroscopic cuvettes (evaluation by offer category) | Specifcations | pieces |
| --- | --- | --- |
| Hellma absorption cuvettes with lid | special optical glass, semi micro, 2 polished windows,H:45mm, W:12.5mm, inside w.:4mm; Vol.: 1400microL, Type 104B-OS, in pair | 2 |
|  | special optical glass, semi micro, 2 polished windows,H:45mm, W:12.5mm, inside w.:4mm; Vol.: 1400microL, Type 104B-OS, single | 2 |
| Hellma absorption cuvettes with lid | 100-OS, special optical glass, 10 mm light path, K,P (spectr. and polarim. measured) | 2 |
|  | 100-OS, special optical glass, 5 mm light path, K (spectr. measured) | 2 |
|  | 100-OS, special optical glass, 2 mm Light Path | 2 |
|  | 100-OS, special optical glass, 1 mm Light Path | 2 |
| Hellma fluorescence cuvettes with lid | special optical glass, macro, 4 polished windows,H:45mm, W:12.5mm, inside w.:10mmx10mm; Vol.: 3500microL, Type 101-OS | 4 |
| Hellma precision fluorescence cells | quartz suprasil, 4 polshed windows, 2 pcs, with PTFE lid, 10x10 mm pathlength, type 101-QS | 2 |
| Hellma quartz suprasil precision fluorescence cells | 4 windows, without stopper, 3x3 mm pathlength | 4 |
| Hamilton syringes with removable needle, 700 series | 5 microliter volume | 2 |
|  | 25 microliter volume | 2 |
|  | 100 microliter volume | 2 |
| Replacement needles | for the 5 microliter Syringe (type 26s ga) | 1 |
|  | for the 25 and 100 microliter Syringe (type 22s ga) | 1 |
| Syringe | disposable 0.5 ml with fixed needle sterile 1 * 100 items | 1 |
|  | disposable 1ml needle-free sterile 1 * 100 items | 1 |
|  | disposable 3ml needle-free sterile 1 * 100 items | 1 |
| Tubing, silicon | 6/9mm, 1*15 m | 1 |
|  | 4/6mm, 1*15 m | 1 |
|  | 1.58/2.41mm, 1*15m | 1 |
| Tubing, PVC | 6/8mm, 1*25m | 1 |