PB07247

Specifikáció - vegyszerek

1. részajánlati kör:

Z742101-CELL STRAINER, 100 UM:

- sterility sterile; γ-irradiated

- packaging pk of 50

- size 100 μm

- color yellow

93283-100ML-TRIS EDTA BUFFER SOLUTION PH 8.0

- grade for molecular biology

- product line BioUltra

- impurities DNases, none detected

- RNases, none detected

- insoluble matter, passes filter test

- phosphatases, none detected

- proteases, none detected

- pH 8.0±0.1 (25 °C)

- cation traces Al: ≤1 mg/kg

- Ba: ≤1 mg/kg

- Bi: ≤1 mg/kg

- Ca: ≤5 mg/kg

- Cd: ≤1 mg/kg

- Co: ≤1 mg/kg

- Cr: ≤1 mg/kg

- Cu: ≤1 mg/kg

- Fe: ≤1 mg/kg

- K: ≤20 mg/kg

- Li: ≤1 mg/kg

- Mg: ≤1 mg/kg

- Mn: ≤1 mg/kg

- Mo: ≤1 mg/kg

- Ni: ≤1 mg/kg

- Pb: ≤1 mg/kg

- Sr: ≤1 mg/kg

- Zn: ≤1 mg/kg

- λ neat

- UV absorption λ: 260 nm Amax: 0.04

- λ: 280 nm Amax: 0.01

D5796-6X500ML-DULBECCOS MODIFIED EAGLES MEDIUM

- Quality Level PREMIUM

- sterility sterile-filtered

- form liquid

- composition glucose: high

- Glutamine: yes

- HEPES: no

- phenol Red: yes

- Sodium bicarbonate (NaHCO3): yes

- Sodium Pyruvate: no

- impurities endotoxin, tested

- suitability suitable for cell culture

- storage temp. 2-8°C

D6429-6X500ML-DULBECCO’S MODIFIED EAGLE’S MEDIUM

- Quality Level PREMIUM

- sterility sterile-filtered

- form liquid

- composition glucose: high

- Glutamine: yes

- HEPES: no

- phenol Red: yes

- Sodium bicarbonate (NaHCO3): yes

- Sodium Pyruvate: yes

- impurities endotoxin, tested

- suitability suitable for cell culture

- storage temp. 2-8°C

2. részajánlati kör:

NUCLEOSPIN RNA PLUS

(250)

- Technology Two column silica-membrane system

- column for DNA removal

- column for RNA isolation

- Format Mini spin columns

- Sample material < 1 x 107 cultured cells,

- < 109 bacterial cells,

- < 108 yeast cells,

- < 30 mg human / animal tissue

- Fragment size > 200 nt

- Typical yield HeLa cells 5 x 106: 40-60 μg

- Mouse liver 20 mg: 80-100 μg

- Mouse kidney 20 mg: 40-70 μg

- Mouse spleen 5 mg: 30-60 μg

- A260/A280 1.9–2.1

- A260/A230 1.8-2.5

- Typical RIN (RNA integrity number) > 9

- Elution volume 30–120 μL

- Preparation time 20 min/6 preps

- Binding capacity 200 μg

3. részajánlati kör:

DMEM,HIGH GLUCOSE, GLUTAMAX SUPPLEMENT PYRUVAT

- DMEM 4,5 g/l glükózzal, fenolvörössel

- stabil glutaminnal

- 3,7 g/l NaHCO3

- Na-piruvát

- GMP szerint gyártva