Specifikáció

The Biopac Student Lab Advanced System includes:

- MP36 Data Acquisition Unit with USB Cable, DC Adapter (110V/60Hz or 220V/50Hz), and Power Cord (US or Euro)

- BSL 4 Software (Lessons and PRO)

- 2 x Electrode Lead Sets - SS2LB

- Disposable Electrodes (100/pk) - EL503

- Abrasive Pads (10/pk) - ELPAD

- Airflow Transducer - SS11LA

- Disposable Bacterial Filters (10/pk) - AFT1

- Disposable Mouthpieces (10/pk) - AFT2

- Disposable Noseclips (10/pk) - AFT3

- Calibration Syringe - AFT6A

- Electrodermal Activity (EDA) Lead - SS57L

- EDA/Isotonic Gel Electrodes (100/pk)- EL507

- Pulse Plethysmograph Transducer - SS4LA

- Respiratory Effort Transducer - SS5LB

- Temperature Transducer - SS6L

- Tape - TAPE1

- Hand Switch - SS10L

- Headphones - OUT1

- Colored Paper Set (for BSL Lesson 9) - PAPER1

- BSL Laboratory Manual MANBSL4

- Install disk includes Searchable PDF Manuals and Tutorials (BSL PRO,Instructors Guide, Answer Key, etc.)

Perform 33 or more lessons with the Advanced System:

Muscular

- BSL1 Standard & Integrated EMG

- H07 EMG Contractions - Active Learning

- H27 Facial EMG

- H34 EGG Electrogastrogram (from Human)

- H36 Muscular Biofeedback

Cardiovascular

- BSL5 Components of the ECG (Lead II)

- BSL6 Leads I, II, III & Einthoven’s Law

- BSL7 ECG & Pulse

- H05 WAnT Wingate Test

- H08 Dive Reflex - Active Learning

- H23 Signal Averaged ECG

- H32 Heart Rate Variability

Pulmonary Function

- BSL8 Respiratory Cycle

- BSL12 Pulmonary Function: Vol. & Capacities

- BSL13 Pulmonary Flow Rates: FEV and MVV

- BSL15 Aerobic Exercise Physiology

Neurophysiology

- BSL3 EEG Relaxation & Brain Rhythms

- BSL4 Alpha Rhythms in the Occipital Lobe

- BSL9 GSR and Polygraph

- BSL10 Eye Movement, Saccades & Fixation

- BSL11 Reaction Time & Learning

- BSL14 Biofeedback: Relaxation & Arousal

- H10 EEG & Hemispheric Asymmetry

- H11 Mirror Test- EDA Sensory Motor Learning

- H12 EOG Saccades & Displacement

- H13 EOG Visual Tracking vs. Imagination

- H14 Ocular Fixation while reading

- H15 Ocular Fixation while viewing an image

- H16 Reaction Time

- H24 Habituation

Biomedical Engineering

- H02 Compartmental Modeling

- H20 BME Filtering

- H33 FFT Fast Fourier Transform