| Leírás | Menny. (db) |
| --- | --- |
| KF to Swagelok Adapter for Metric Sizes, Stainless Steel 304, Flange Size: DN 25 ISO-KF, Tube OD: 6 mm | 1 |
| KF to Swagelok Adapter for Metric Sizes, Stainless Steel 304, Flange Size: DN 16 ISO-KF, Tube OD: 6 mm | 2 |
| DN 25 ISO-KF Elbow, 90° (Radius), Stainless Steel 304 | 4 |
| DN 25 ISO-KF Tee, Stainless Steel 304 | 2 |
| DN 16 ISO-KF Centering Ring, Stainless Steel 304 | 5 |
| DN 25 ISO-KF Centering Ring, Stainless Steel 304 | 10 |
| DN 16 to DN 10 ISO-KF Reducer Centering Ring, Stainless Steel 304 | 5 |
| DN 10-16 ISO-KF Clamping Ring for Elastomer Seal, Aluminum | 5 |
| DN 20-25 ISO-KF Clamping Ring for Elastomer Seal, Aluminum | 10 |
| DN 25 ISO-KF Spring Bellow, Stainless Steel: Flange 304/Bellow 316L, Length: 100 mm | 1 |
| DN 25 ISO-KF Highly Flexible Connector, Thin-wall Corrugated Hose, Stainless Steel: Flange 304/Bellow 316L, Length: 1500 mm (120SWD025-1500) | 4 |
| DN 40 CF Oxygen free high conductance (OFHC) Copper Gasket | 10 |
| DN 100 CF Oxygen free high conductance (OFHC) Copper Gasket | 10 |
| DN 40 CF to DN 25 ISO-KF Adapter, Stainless Steel 304 | 1 |
| DN 40 CF Flanged Multi-pin Electrical Feedthrough (Wire conductor with outside plug), 20 Pins, 700V DC, 10 A, Flange: Stainless Steel, Conductor: Alumel | 1 |