Summary Sheet for Purchasing Procedure

SZTE/2021/PSZ11834

Bidder company:  (please note that you can remove the yellow highlighting if you like)

name

address

phone

contact name and email

Offer summary

| # | Specification | Offered parameter |
| --- | --- | --- |
| II.1 | Cut-off energy of deuteriums: minimum: 400keV, MfV: 1MeV | ….. |
| II.2 | Total number of deuteriums above 50keV per shot: minimum: 10^7; MfV: 10^10 | ….. |
| II.3 | Repetition rate: minimum: 10Hz, Mfv: 100Hz | ….. |
| II.4 | Best effort – repetition rate minimum 100Hz Mfv: 1kHz | ….. |
| II.5 | Duration of continuous operation without human interaction Minimum: 1 h; MfV: 4 hours | ….. |
| II.6 | Duration of the project (starting from contracting): Maximum: 15 months, Mfv: 10 months | ….. |
| II.7 | Net total cost | ….. |
| II.8. | Residual pressure in the interaction chamber | ….. |

Formal elements:

- terms of payment:…………..(such as: net 30 or net 60 days, or else)

- quote validity: …………..

- (The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days. Quote validity day should be not earlier than the deadline of the procedure)

This summary sheet is an integral part of the offer of …….(company)  dated …… Offer No …… uploaded to call for proposals #SZTE/2021/PSZ11834 of University of Szeged.

Date: …………..

Signature:……..

company name