{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Munka2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka2","index":0,"n_rows":44,"n_cols":6,"rows_kept":44,"cut":false,"hidden":false,"merged":[[33,0,33,5],[6,0,6,5],[18,0,18,5],[22,0,22,5],[26,0,26,5],[32,0,32,5],[13,0,13,5],[2,0,2,5],[7,0,7,5],[19,0,19,5],[23,0,23,5],[27,0,27,5]]}
[]
["Megnevezés","Igényelt mennyiség ","Kiszerelés","Más kiszerelés elfogadható?","Egyenértékű vagy jobb helyettesítő termék elfogadható?","Megjegyzés"]
["1. részajánlat"]
["kvarc küvetta, 2 oldalú","2 db",null,"IGEN","IGEN","10mm + tető, magasság: 45 mm, térfogat: 3,5 ml"]
["Tölcsérek, rövid szárral","1 db",null,"IGEN","IGEN","tölcsér :200mm, szárátmérő: 24-26mm, szárhossz:150-175 mm, hőálló boroszilikát üveg"]
["fecskendők (5 mL)","1 doboz","100 db/doboz","IGEN","IGEN","PP, 2 részes, steril, egyszer használatos, egyesével csomagolt, "]
[]
["2. részajánlat"]
["kvarc küvetta, 4 oldalú","2 db",null,"IGEN","IGEN","Küvetta , fényút: 10x10 mm (101-10-40) Anyaga: kvarc , Hullámhossztartomány: 200-2500 nm, Térfogat: 3500 ul, Ablakok: 4, tetővel"]
["Kimtech szöszmentes törlőkendő, Precision wipes, Kimtech™ Science, 7552, 1 ply","30 doboz (8580 lap)","286 lap/doboz","IGEN","IGEN","Wipes for delicate tasks, Kimtech™ Science, 208×112 mm 30 boxes of 286 wipes"]
["HAMILTON fecskendő, 10 uL-es","2 db",null,"IGEN","IGEN","hegytípus: ferde, hossz: 50mm"]
["Dialysis membrane Spectra/Por® Biotech CE MWCO 500–1000, 10 mm","1 x 10 m","10 m","IGEN","IGEN"]
[]
["3. részajánlat"]
["Absz. Etanol., a. r., 1000 ml","20 x 1000 ml","1000 ml","IGEN","IGEN","≥99.8%"]
["TITANIUM(IV)ISOPROPOXIDE","6 x 250 ml","250 ml","IGEN","IGEN","98+%"]
["AMMONIUM TUNGSTEN OXIDE HYDRATE ","2 x 100 g","100 g","IGEN","IGEN"]
["2-Propanol, 5L","4 x  5 liter","5 liter","IGEN","IGEN","≥99.7%"]
[]
["4. részajánlat"]
["Borostyánkősavanhidrid 99%(GC)",1,"50 g","IGEN","IGEN"]
["Methylprednisolone acetate  >98,0% (HPLC)",1,"250 mg","IGEN","IGEN"]
[]
["5. részajánlat"]
["Fine forceps, self-closing (TEM csipesz)","2 x 1 db","1 db","IGEN","IGEN"]
["AGS160 Carbon Films on 200 Mesh Grids Copper (Pack of 50)","4 x 50",50,"IGEN","IGEN"]
[]
["6. részajánlat"]
["Eppendorf Safe-Lock cső 2,0 ml, áttetsző","2 x 1000 db","1000/csg","IGEN","IGEN"]
["Hőálló cimkézőszalagok, öntapadó, fehér","2 db",null,"IGEN","IGEN","legalább : 19mm x 30 m"]
["Hőálló cimkézőszalagok, öntapadó, kék","2 db",null,"IGEN","IGEN","legalább: 19 mm x 13 m"]
["tárgylemez","2 cs","50/cs","IGEN","IGEN","76x26 mm "]
[]
["7. részajánlat"]
["2ml PP széles szájú csavaros vial","6 cs","100/cs","IGEN","IGEN","2 ml, műanyag"]
["0,3ml polipropilén széles szájú csavaros mikro-vial","2 cs","100/cs","IGEN","IGEN","vial belső szűkítővel"]
["elővágott piros PTFE/fehér szilikon szeptum, 9mm kék széles szájú csavaros polipropilén kupak",10,"100/cs","IGEN","IGEN"]
["fekete csavaros polipropilén kupak, zárt (4mL)",6,"100/cs","IGEN","IGEN"]
["8mL csavaros vial",4,"100/cs","IGEN","IGEN"]
["piros PTFE/fehér szilikon szeptum, 15mm fekete csavaros polipropilén kupak, zárt",4,"100/cs","IGEN","IGEN"]
["natúr PTFE/natúr szilikon szeptum 22*3mm, 24mm fehér csavaros polipropilén kupak, zárt",3,"100/cs","IGEN","IGEN"]
["20ml EPA csavaros vial (barna)",3,"100/cs","IGEN","IGEN","sötétített"]
[" 20 ml üveg  V2017",22,"100/cs","IGEN","IGEN","20mL Clear EPA Screw Neck Vial, 27.5*57mm"]
[" ND24 menetes kupak  CS222  100/cs","25 cs","100/cs","IGEN","IGEN","White Screw Polypropylene Cap, Closed-top Φ24mm"]