{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Szivattyúigény"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Szivattyúigény","index":0,"n_rows":15,"n_cols":5,"rows_kept":15,"cut":false,"hidden":false,"merged":[[15,3,15,4],[4,4,6,4],[4,5,6,5],[4,2,6,3]]}
[]
[]
[null,null,null,"SPECIFIKÁCIÓ"]
[]
[null,null,"Megnevezés",null,"db"]
[]
[]
[null,null,null,"MAGNA3 25-60 180 1x230V PN10",10]
[null,null,null,"MAGNA3 25-80 180 1x230V PN10",6]
[null,null,null,"MAGNA3 32-80 180 1x230V PN10",11]
[null,null,null,"MAGNA3 32-120 180 1x230V PN10",4]
[null,null,null,"MAGNA3 32-120 F 220 1x230V PN6/10",2]
[null,null,null,"MAGNA3 50-120 F 280 1x230V PN6/10",6]
[null,null,null,"MAGNA3 65-120 F 340 1x230V PN6/10",8]
[null,null,null,"MAGNA3 80-120 F 360 1x230V PN10",1]