SPECIFIKÁCIÓ

- Universal 320 R (IVD) Benchtop Centrifuge, refrigerated, without rotor

- Angle rotor, 30 – place, 45° with lid, max. RPM: 14,150 min-1, max. capacity: 30 x 2ml; bioseal, phenol-resistant, for Universal 320 R

- Angle rotor, 12 – place, 35°, max. RPM: 12,000 min-1, max.capacity:12 x 15ml; for Universal 320R

- Angle rotor, 6  - place, 35° with lid, max. RPM:9,000 min-1, max. capacity: 6 x 94 ml, bioseal, phenol-resistant, for Universal 320 R