Liquid nitrogen container with racks, boxes and cart for liquid nitrogen container — specification

| Products | Technical parameters | Quantity |
| --- | --- | --- |
| Liquid nitrogen container 47 liter with racks & boxes | Capacity: 47 liter Empty weight: 19 kg Neck diameter: 127 mm outer diameter: 500 mm Height 675 mm Static evapporation loss mass: 0.33 L/d Static holding time (days): 142 d Number of racks: 7 Box per rack: 5 Measurement of rack: 82x84 mm Measurement of box: 76x76 mm Box needed for system: 35 n Number of vials: 875 n Advanced vacuum insulation Durable aluminium construction | 1 pc |
| Cart for liquid nitrogen container 47/65/121 liter | 5 wheels cart for Cryogenics liquid nitrogen container 47 liter | 1 pc |

Warranty: at least 12 months

Important: End User would like to use Cryo container and Cryo cart.