Technical specification of Line Scan Cameras listed in Call for Proposal #SZTE/2019/PB10322

| Part | Description | Quantity | Specification | Sample product |
| --- | --- | --- | --- | --- |
| 1 | Line scan camera for 500-1000 nm | 1 | Resolution: 2048x2 Line rate: 70 kHz Camera interface type: Camera Link Pixel size: 10x10 μm Please list the shipping and handling cost for this individual produst in your offer | Basler sprint spL2048-70km This model is optional. suppliers may offer a different make if it matches the specified parameters. |
| 2 | IR Line scan camera data aquisition and evaluation unit | 1 | Array type: InGaAs Number of pixels: min. 1024 Line rate: min. 40kHz Pixel rate: min. 50 MPixels/sec Pixel size: max 12.5 x 12.5μm AD conversion: min. 14 bit Data aquisition and evaluation unit: connected to the camera, capable to capture the digital signal of the camera, display the image and execute basic image processing. Please list the shipping and handling cost for this individual produst in your offer | Xenics Lynx 1024 SQ This model is optional. suppliers may offer a different make if it matches the specified parameters. |

Suppliers may submit their offer or offers for either one or two parts.

Offers to be submitted separately for each of the individual parts listed in the specification. Please clearly refer the No of the Part and the products in your offer. Please include shipping cost for each product.

Delivery is expected within 7 weeks after sigining the contract.

The quotations will be then evaluated separately for each individual parts, and evaluation principle will be the lowest price for each parts, separately.

Please note that offers must fully match the criteria listed above, or may be a better substitute. Offers for products with less specification and different quantities will be considered invalid.

(Version: 03 of December, 2019)

Please upload your offer or offers via the website of the Call for the Proposal, 
No. SZTE/2019/PB10322