Technical specification of Call for proposals No SZTE/2022/PB12043
for Parts for ELI-MTA2 experiment

| # | Part name | Specification | Qty | Sample product |
| --- | --- | --- | --- | --- |
| 1 | Si Fixed Gain Detector | 200 - 1100 nm, 150 MHz BW, 0.8 mm2, Universal 8-32 / M4 Taps | 3 | Thorlabs PDA10A2 |
| 2 | Si Detector | 200 - 1100 nm, 1 ns Rise Time, 0.8 mm2, Universal 8-32 / M4 Mounting Holes | 3 | Thorlabs DET10A2 |
| 3 | Box with 10 Absorptive Ø25 mm ND Filters | SM1-Mounted, 400 - 650 nm | 2 | Thorlabs NEK01 |
| 4 | Self-Centering Lens Mount | Ø0.15" (Ø3.8 mm) to Ø3.00" (Ø76.2 mm), M4 Tap | 3 | Thorlabs SCL04/M |
| 5 | Adjustable Lens Mount | Ø0.77" (Ø19.6 mm) to Ø2.28" (Ø57.9 mm), M4 Tap | 2 | Thorlabs LH2/M |
| 6 | Extra Filter Carriage for Filters | ≤3.5 mm Thick | 2 | Thorlabs SM1QTU |
| 7 | Extra Filter Carriage for Filters | 3.5 - 6.3 mm Thick | 2 | Thorlabs SM1QT |
| 8 | plus include shipping cost to Szeged |  |  |  |

Formal requirements of the quotations. Please include these data in your proposal:

- Please refer to SZTE/2022/PB12043

- Name of the bidder company, address. Please note that the bidder's company name must be same as that of the invoicing company (In case the bidder company outsources the invoicing, please notify us before the tender deadline)

- The NET price for EACH OF THE SEVEN PRODUCTS + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) of the purchase. Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

- Please list unit prices, subtotals and net total

- Please do not list the bank charge (to be paid by customer).

- Terms of delivery and delivery/lead time.

- Terms of payment (such as: net 30 or net 60 or prepayment). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date. The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days.

  - Quote validity day should be not earlier than the deadline of the procedure.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features).

- Warranty and guarantee terms if applicable.

Date: 13rd of January, 2022.

Please upload your offer on the website of the Call for the Proposals, No SZTE/2022/PB12043