Technical specification of Histamine Enzyme Immunoassay kit 96 wells, 5 pcs, listed in Call for Proposal #SZTE/2022/PB12091

Product name: Histamine Enzyme Immunoassay kit 96 wells Histamine Enzyme Immunoassay kit 96 wells

Required quantity: 5 pcs

Specification:

- This Enzyme Immunoassay (EIA) is based on the competition between unlabelled (free) Histamine (standards / QC / samples) and acetylcholinesterase (AChE) linked to Histamine (Tracer) for limited specifi c mouse anti-Histamine antibody sites. As a former step of this assay, Histamine is derivatized to increase the affinity of Histamine to the antibody and consequently increase the sensitivity of the assay. Tracer and free Histamine are incubated in wells which have been precoated with a mouse anti-Histamine antibody. The plate is washed to remove any unbound reagent, then Ellman’s Reagent (enzymatic substrate for AChE and chromogen) is added to the wells.The AChE tracer acts on the Ellman’s Reagent to form a yellow compound that strongly absorbs at 414 nm.

- The Limit of Detection (LOD) calculated as the concentration of Histamine corresponding to the B0 average minus three standard deviation is 0.5 nM.

- Shelf life: 18 months after production

The quotes must match these specifications. Offers with different specifications or quantities will be considered invalid.

Formal requirements of the quotations:

- Please refer to SZTE/2022/PB12091

- Name of the bidder company, address. Please note that the bidder company, the contracting company and the invoicing company must be the same. If you have more than one company/subsidiaries please add the name of the invoicing company. (In case the bidder company outsources the invoicing, please notify us before the tender deadline).

- The NET price for the product + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) in one offer. Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

- Please list unit prices, subtotals and net total

- Please do not list the bank charge (to be paid by customer).

- Terms of delivery and delivery/lead time.

- Terms of payment (such as: net 30 or net 60 or prepayment). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date. The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days.

  - Quote validity day should be not earlier than the deadline of the procedure.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features).

Date: 8 February, 2022.

Please upload your offer on the website of the Call for the Proposal, No. SZTE/2022/PB12091