Technical specification of Call for proposals #SZTE/2023/12897
for Beam Samplers for Beam Pick-Off

Required products

| # | Name | Specification | Required quantity | Sample product |
| --- | --- | --- | --- | --- |
| 1 | 1" or 25 mm Beam sampler for beam pick-off | 1" or 25 mm Beam Sampler, B Coating, UV Fused Silica, Window diameter 25 mm Ø1" UVFS Beam Sampler for Beam Pick-Off, ARC: 650-1050 nm, 5 mm Thick | 12 pcs | Thorlabs BSF10-B |
| 2 | 2" or 50 mm Beam sampler for beam pick-off | 2" or 50 mm Beam Sampler, B Coating, UV Fused Silica, Window diameter 50 mm Ø2" UVFS Beam Sampler for Beam Pick-Off, ARC: 650-1050 nm, 8 mm Thick | 6 pcs | Thorlabs BSF20-B |
| 3 | Please include shipping cost |  |  |  |
|  | Total net sum of the above the total sum must include shipping cost of the 2 types of products |  |  |  |

Formal requirements of the offers. Please include these data in your proposal:

- Please refer to SZTE/2022/PB12897

- Name of the bidder company, address. Please note that the bidder company, the contracting company and the invoicing company must be the same. If you have more than one company/ subsidiaries please provide the name of the invoicing company. (In case the bidder company outsources the invoicing, please notify us before the tender deadline)

- Customer name: University of Szeged, Dugonics tér 13. H-6720 Szeged, Hungary, VAT No: HU19308650

- The NET price for the products (of the required quantity specified above) + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) and the net total sum. Please include the relevant currency. Accepted currencies: HUF, EUR, USD, GBP, SEK, CHF, NOK, DKK, CAD, AUD, JPY, CZK.

  - Please note that quoted net price (subtotals and totals) must match the prices listed in the final invoice to be issued upon delivery.

  - Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

  - Please do not add bank charge as this will be paid by customer.

  - Please include the net total sum and the currency

  - (In case a bidder needs to pay additional taxes, fees, licenses etc after the products/services offered, they are kindly requested to be aware of that and consider these extra cost when calculating the offer net total price.)

- Terms of delivery /delivery lead time

- Terms of payment (such as net 60 days, or net 30 days or prepayment etc.). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date.

  - The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days, if possible.

  - Quote validity day should be not earlier than the deadline of the tender.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features)

- Warranty/guarantee terms, if applicable

Thank you very much in advance for your cooperation!

Version date: February 16, 2023.

Please upload your offer via the website of the Call for the Proposal, 
No. SZTE/2023/12897