Technical specification of Call for Proposals #SZTE/2023/PB12922
for Light Sources and Accessories for Optical Alignment

Required products, quantities:

Part 1 (offer must include all the products listed below)

| # | Name | Required quantity | Sample product |
| --- | --- | --- | --- |
| 1 | Collimated Laser Diode Module, 850 nm, 3.5 mW, Elliptical Beam, Ø11 mm Housing | 2 pcs | CPS850 |
| 2 | Collimated Laser Diode Module, 635 nm, 4.5 mW, Elliptical Beam, Ø11 mm Housing | 1 pc | CPS635 |
| 3 | 5 VDC Regulated Power Supply, 2.5 mm Phono Plug, 230 VAC | 1 pc | LDS5-EC |
| 4 | Collimated Laser Diode Module, 520 nm, 4.5 mW, Elliptical Beam, Ø11 mm Housing | 1 pc | CPS520 |
|  | Please include shipping cost |  |  |
|  | Total net sum of the above the total sum must include shipping cost of the 4 types of products |  |  |

Part 2 (offer must include all the products listed below)

| # | Name | Required quantity | Sample product |
| --- | --- | --- | --- |
| 1 | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 50 mm, 5 Pack | 6 pcs | TR50/M-P5 |
| 2 | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 75 mm, 5 Pack | 6 pcs | TR75/M-P5 |
| 3 | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 100 mm, 5 Pack | 6 pcs | TR100/M-P5 |
| 4 | Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 150 mm, 5 Pack | 6 pcs | TR150/M-P5 |
| 5 | Ø12.7 mm Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=54.7 mm | 30 pcs | PH50E/M |
| 6 | Ø12.7 mm Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=79.7 mm | 30 pcs | PH75E/M |
| 7 | Ø12.7 mm Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=104.7 mm | 8 pcs | PH100E/M |
| 8 | Lens Mount with Retaining Ring for Ø1" Optics, M4 Tap, 5 Pack: | 4 pcs | LMR1/M-P5 |
| 9 | Lens Mount with Retaining Ring for Ø2" Optics, M4 Tap | 20 pcs | LMR2/M |
| 10 | Ø25.0 mm Pedestal Pillar Post, M4 Taps, L =75mm | 12 pcs | RS3P4M |
| 11 | Ø25.0 mm Pedestal Pillar Post, M4 Taps, L = 100 mm | 10 pcs | RS4P4M |
| 12 | Ø25.0 mm Pillar Post, M4 Taps, L = 75 mm | 12 pcs | RS75P4/M |
| 13 | Ø25.0 mm Pillar Post, M4 Taps, L = 100 mm | 10 pcs | RS100P4/M |
| 14 | Right-Angle Ø25.0 mm to Ø1/2" Post Clamp | 30 pcs | RA90RS/M |
| 16 | Centered Mounting Post Joist, M4 Mounting Hardware | 10 pcs | PJ301/M |
| 17 | Slip-On Post Collar for Ø1/2" Posts, M6 Thumbscrew, 5 Pack | 4 pcs | R2/M-P5 |
| 18 | Motorized Filter Flip Mount with Ø2" Optic Holder, M4 Tap | 2 pcs | MFF102/M |
| 19 | Please include shipping cost |  |  |
|  | Total net sum of the above the total sum must include shipping cost of the 18 types of products |  |  |

Bidders can submit their offers for both parts or only one part, as they prefer.

After uploading the offer or offers please send an email to farkasne.antal.aniko@gmf.u-szeged.hu and let us know which Part your Quote is for.

Formal requirements of the offers. Please include these data in your proposal:

- Please refer to SZTE/2022/PB12922 and the Prt No (either: Part 1 or Part2)

- Name of the bidder company, address. Please note that the bidder company, the contracting company and the invoicing company must be the same. If you have more than one company/ subsidiaries please provide the name of the invoicing company. (In case the bidder company outsources the invoicing, please notify us before the tender deadline)

- Customer name: University of Szeged, Dugonics tér 13. H-6720 Szeged, Hungary, VAT No: HU19308650

- The NET price for all products within one part (of the required quantities) + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) in one offer, and the net total sum. Please include the relevant currency. Accepted currencies: HUF, EUR, USD, GBP, SEK, CHF, NOK, DKK, CAD, AUD, JPY, CZK.

  - Please note that quoted net price (subtotals and totals) must match the prices listed in the final invoice to be issued upon delivery.

  - Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

  - Please do not add bank charge as this will be paid by customer.

  - Please include the net total sum within one part and the currency

  - (In case a bidder needs to pay additional taxes, fees, licenses etc after the products/services offered, they are kindly requested to be aware of that and consider these extra cost when calculating the offer net total price.)

- Terms of delivery /delivery lead time

- Terms of payment (such as net 60 days, or net 30 days or prepayment etc.). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date.

  - The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days, if possible.

  - Quote validity day should be not earlier than the deadline of the tender.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features)

- Warranty/guarantee terms, if applicable

Thank you very much in advance for your cooperation!

Version date: February 27, 2023.

Please upload your offer via the website of the Call for the Proposal, 
No. SZTE/2023/PB12922