Technical specification of Call for proposals #SZTE/2023/PB13443
for DFB ICL laser

Required products

| # | Name | Specification | Required quantity |
| --- | --- | --- | --- |
| 1 | DFB-ICL laser | Laser type: DFB Interband Cascade Laser Operating wavelength: 3317.5 nm Operating output power: min. 10 mW TO66 housing with TEC and NTC and antireflection coated window (up to 5319nm). | 1 pc |
| 2 | Mounting | Heatsink cubic mount for TO66 header Connectors: for laser diode driver & temperature controller Posts: M6 Cage system: Standard | 1 pc |
| 3 | Collimator lens | Wavelength: Up to 5319nm Max optical power loss: 35% | 1 pc |
| 4 | Please include shipping cost |  |  |
|  | Total net sum of the above the total sum must include shipping cost of the 3 types of products |  |  |

Formal requirements of the offers. Please include these data in your proposal:

- Please refer to SZTE/2023/PB13443

- Name of the bidder company, address. Please note that the bidder company, the contracting company and the invoicing company must be the same. If you have more than one company/ subsidiaries please provide the name of the invoicing company. (In case the bidder company outsources the invoicing, please notify us before the tender deadline)

- Customer name: University of Szeged, Dugonics tér 13. H-6720 Szeged, Hungary, VAT No: HU19308650

- The NET price for the products (of the required quantity specified above) + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) and the net total sum. Please include the relevant currency. Accepted currencies: HUF, EUR, USD, GBP, SEK, CHF, NOK, DKK, CAD, AUD, JPY, CZK.

  - Please note that quoted net price (subtotals and totals) must match the prices listed in the final invoice to be issued upon delivery and no further costs can be charged.

  - Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

  - Please do not add bank charge and customs clearance fees. These will be paid separately, by customer.

  - Please include the net total sum and the currency

  - (In case a bidder needs to pay additional taxes, fees, licenses etc after the products/services offered, in their country, they are kindly requested to be aware of that and consider these extra cost when calculating the offer net total price.)

  - If the bidder is a Hungarian company, with a Hungarian tax/VAT number, a Hungarian business address and a Hungarian bank account, the VAT amount may be included in the offer. If bidder is not a Hungarian company located outside Hungary and has a non-Hungarian tax/VAT number, a non-Hungarian bank account number, VAT should not be indicated in the offer, or alternatively: 0% VAT, or 0 EUR or 0 USD.

- Terms of delivery /delivery lead time

- Terms of payment (such as net 60 days, or net 30 days or prepayment etc.). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date.

  - The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days, if possible.

  - Quote validity day should be not earlier than the deadline of the tender.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features)

- Warranty/guarantee terms, if applicable

Thank you very much in advance for your cooperation!

Version date: October 27, 2023.

Please upload your offer via the website of the Call for the Proposal, 
No. SZTE/2023/13443