Technical specification of Call for proposals #SZTE/2024/PB13699
for C-Mount Format Objectives and High Power Polarizing Beamsplitter Cube

Required products:

Part One:

| # | Name | Specification | Example | Required quantity |
| --- | --- | --- | --- | --- |
| 1 | 1" High-Power Polarizing Beamsplitter Cube 780 - 808 nm | 1. DESIGN WAVELENGTHS: 780-808 nm 2. CLEAR APERTURE: >22.5 mm x 22.5 mm 3. SURFACE QUALITY: 20-10 SCRATCH-DIG 4. TRANSMITTED BEAM DEVIATION: <5 arcmin 5. REFLECTED BEAM DEVIATION: 90° 5 arcmin 6. EXTINCTION RATIO: Tp/Ts> 2000:1 7. TRANSMISSION EFFICIENCY: Tp>95% 8. REFLECTION EFFICIENCY: Rs>99.5% 9. COATING (ALL 4 OUTER OPTICAL SURFACES): VAR COATING Rabs<0.5% AT 750-850 nm, 0° AOI Delivery time: within maximum 30 days after order | PBS25-780-HP | 3 pcs |
| 2 | Please include shipping, handling cost |  |  |  |
|  | Total net sum of the above the total sum must include shipping cost to delivery address |  |  |  |

Part Two:

| # | Name | Specification | Example | Required quantity |
| --- | --- | --- | --- | --- |
| 1 | 75 mm EFL f/2.5 for 2/3" C-Mount Format Cameras with Lock | Focal Length: 75 mm Aperture (Max): f/2.5 Min Object Distance: 1.2 m (47.2") Design Formata: 2/3" Camera Threading C-Mount (1.00"-32) | MVL75M23 | 1 |
| 2 | 100 mm EFL f/2.8 for 2/3" C-Mount Format Cameras with Lock | Focal Length: 100 mm Aperture (Max): f/2.8 Min Object Distance: 2.0 m (78.7") Design Formata: 2/3" Camera Threading C-Mount (1.00"-32) | MVL100M23 | 1 |
| 3 | 18 - 108 mm EFL f/2.5 for 2/3" C-Mount Format Cameras | Focal Length: 18 - 108 mm Aperture (Max): f/2.5 Min Object Distance: 130 mm (5") Design Formata: 2/3" Maximum Magnification: 1.1X at 5" Working Distance Camera Threading: C-Mount C-Mount (1.00"-32) | MVL7000 | 1 |
| 2 | Please include shipping, handling cost Delivery time: within maximum 30 days after order per product |  |  |  |
|  | Total net sum of the above the total sum must include shipping cost to delivery address |  |  |  |

Bidders can submit their offers for both parts or only one part, as they prefer.

After uploading the offer or offers please send an email to farkasne.antal.aniko@gmf.u-szeged.hu and let us know which Part your Quote is for.

Formal requirements of the offers. Please include these data in your proposal:

- Please refer to SZTE/2024/PB13699

- Name of the bidder company, address. Please note that the bidder company, the contracting company and the invoicing company must be the same. If you have more than one company/ subsidiaries please provide the name of the invoicing company. (In case the bidder company outsources the invoicing, please notify us before the tender deadline)

- Customer name: University of Szeged, Dugonics tér 13. H-6720 Szeged, Hungary, VAT No: HU19308650

- The NET price for all products (of the required quantity specified above) within one part + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) in one offer

Please include the relevant currency. Accepted currencies: HUF, EUR, USD, GBP, SEK, CHF, NOK, DKK, CAD, AUD, JPY, CZK.

  - Please note that quoted net price (subtotals and totals and currency) must match the prices listed in the final invoice to be issued upon delivery and no further costs can be charged.

  - Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

  - Please do not add bank charge and customs clearance fees. These will be paid separately, by customer.

  - please list the net total sum within one Part and the currency

  - (In case a bidder needs to pay additional taxes, fees, licenses etc after the products/services offered, in their country, they are kindly requested to be aware of that and consider these extra cost when calculating the offer net total price.)

  - If the bidder is a Hungarian company, with a Hungarian tax/VAT number, a Hungarian business address and a Hungarian bank account, the VAT amount may be included in the offer. If bidder is not a Hungarian company located outside Hungary and has a non-Hungarian tax/VAT number, a non-Hungarian bank account number, VAT should not be indicated in the offer, or alternatively: 0% VAT, or 0 EUR or 0 USD.

- Terms of delivery /delivery lead time

- Terms of payment (such as net 60 days, or net 30 days or prepayment etc.). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date.

  - The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days, if possible.

  - Quote validity day should be not earlier than the deadline of the tender.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features)

▪ Warranty and guarantee terms if applicable.

Thank you very much in advance for your cooperation!

Version date: February 21, 2024.

Please upload your offer via the website of the Call for the Proposal, 
No. SZTE/2024/PB13699