{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Munka1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":31,"n_cols":7,"rows_kept":31,"cut":false,"hidden":false,"merged":[[17,5,17,6],[18,5,18,6],[19,0,19,6],[29,8,29,9],[30,8,30,9],[0,0,0,6],[1,0,1,6],[2,0,2,6],[3,0,3,6],[4,0,4,6],[12,5,12,6],[16,5,16,6],[5,0,5,6],[8,5,8,6],[9,5,9,6],[10,5,10,6],[11,5,11,6]]}
["SZEGEDI TUDOMÁNYEGYETEM"]
[]
[]
[]
[]
[]
[{"$nulls":5},"Kelt:"]
[]
["Szegedi Tudományegyetem                ",{"$nulls":4},"Készítette:"]
["Műszaki Igazgatóság                    ",{"$nulls":4},"Cégnév"]
["Műszaki Üzemeltetési Részleg         ",{"$nulls":4},"Székhely"]
["6725 Szeged, Tisza Lajos krt. 107.     ",{"$nulls":4},"Kapcsolattartó"]
["                                       ",{"$nulls":4},"Elérhetőség"]
["                                       ",{"$nulls":4},"                                       "]
["A munka leírása:                       ",{"$nulls":4},"                                       "]
["JATIK épületében mosdópultok cseréje"]
[]
["                                                                              "]
[]
["Költségvetés főösszesítő"]
[null,"Mennyiség","Egység","Anyag díj","Munka díj","Anyag össz.","Munkadíj Össz."]
["törmelék elszállítás kézi erővel sittes zsákokban",1,"db",0,0,{"$f":"SUM(B22*D22,0)","v":0},{"$f":"SUM(B22*E22)","v":0}]
["mosdópultok bontása",3,"db",0,0,{"$f":"SUM(B23*D23,0)","v":0},{"$f":"SUM(B23*E23)","v":0}]
["új pultok  3 cm vtg kvarchomok kompozit anyagból 5 cm magas vízvetővel 30 cm-es front szoknyával (kb.1,50×60 m) ezt helyszínen pontosítani kell !!!",3,"db",0,0,{"$f":"SUM(B24*D24,0)","v":0},{"$f":"SUM(B24*E24)","v":0}]
["egykaros csaptelep (mofém, kludi)",14,"db",0,0,0,0]
["nyomógombos leeresztő (mofém, kludi)",14,"db",0,0,0,0]
["egyéb szerelési anyagok (csavar, tipli, szilikon, tomítések)",1,"klt",0,0,0,0]
["flexicső",28,"db",0,0,0,0]
["sarokszelep",28,"db",0,0,0,0]
[{"$nulls":4},"Összesen nettó",{"$f":"SUM(F22:G29)","v":0}]
[{"$nulls":4},"Összesen bruttó",{"$f":"F30*1.27","v":0}]