{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Szentes","Deszk"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Szentes","index":0,"n_rows":411,"n_cols":8,"rows_kept":411,"cut":false,"hidden":false,"merged":[]}
[null,null,null,"        Felülvizsgálat köteles orvosi eszközök Szentes"]
["Sorszám.","Eszköz helye (leltárkörzet)  ","Gyártó","Tipus","Gyári szám","Egységár nettó","Egységár bruttó","Megjegyzés"]
["1.","Általános Sebészet","BMI","Joker 30R mobil rtg","T6414"]
["2.","Baleseti osztály","Smam","Roller4 mobil rtg","T8116"]
["3.","Baleseti Sebészet","Medicor",402,77040]
["4.","Baleseti Sebészet","Mindray","IPM 10","FG38009961"]
["5.","Baleseti Sebészet","Mindray","IPM 10","FG38009962"]
["6.","Belgyógyászat","PHYSIO CONTROL","Lifepak 15",49090081]
["7.","Belgyógyászat","PHYSIO CONTROL","Lifepak 20e","44058596"]
["8.","Belgyógyászat","Nihon Kohden","TEC 7511R","01709"]
["9.","Belgyógyászat","Innomed","HeartScreen 21",1421010125]
["10.","Belgyógyászat","Mortara","ELI 250C",106030288732]
["11.","Belgyógyászat","Mortara","ELI 250C",106030288733]
["12.","Belgyógyászat","Mortara","TMX428CP220 terheléses rendszer",1489]
["13.","Belgyógyászat","Enmind","EN-S7",71200524539]
["14.","Belgyógyászat","Alaris","GH Plus",200008467]
["15.","Belgyógyászat","Alaris","GH Plus",200008450]
["16.","Belgyógyászat","Alaris","GH Plus",200008471]
["17.","Belgyógyászat","Alaris","GH Plus",200008453]
["18.","Belgyógyászat","Alaris","GH Plus",200008459]
["19.","Belgyógyászat","Alaris","GH Plus",200008475]
["20.","Belgyógyászat","Alaris","GH Plus",200008447]
["21.","Belgyógyászat","Alaris","GH Plus",200008465]
["22.","Belgyógyászat","Alaris","GH Plus",200008522]
["23.","Belgyógyászat","Alaris","GH Plus",200008519]
["24.","Belgyógyászat","Alaris","GH Plus",200008458]
["25.","Belgyógyászat","Alaris","GH Plus",200008468]
["26.","Belgyógyászat","GE","B125","SQF20236830 WA"]
["27.","Belgyógyászat","GE","B125","SQF20236820 WA"]
["28.","Belgyógyászat","GE","B125","SQF20236831 WA"]
["29.","Belgyógyászat","GE","B125","SQF20225807 WA"]
["30.","Belgyógyászat","GE","B125","SQF20225787 WA"]
["31.","Belgyógyászat","Biolight","Q5-TS/II","q068e042649"]
["32.","Belgyógyászat","GIMA S.p.a","PC 900","J01000F01041"]
["33.","Belgyógyászat","Philips","Philips iE33","B03XZ5"]
["34.","Belgyógyászat 12 krt","GE","B125","SQF20236829 WA"]
["35.","Belgyógyászat 12 krt","GE","B125","SQF20236825 WA"]
["36.","Belgyógyászat 14 krt","GE","B125","SQF20236822 WA"]
["37.","Belgyógyászat 14 krt","GE","B125","SQF20225804 WA"]
["38.","Belgyógyászat 17 krt","GE","B125","SQF20225778 WA"]
["39.","Belgyógyászat 17 krt","GE","B125","SQF20236824 WA"]
["40.","Belgyógyászat 17 krt","GE","B125","SQF20236823 WA"]
["41.","Belgyógyászat 17 krt","GE","B125","SQF20225751 WA"]
["42.","Belgyógyászat 18 krt","GE","B125","SQF20225785 WA"]
["43.","Belgyógyászat 18 krt","GE","B125","SQF20236818 WA"]
["44.","Belgyógyászat 18 krt","GE","B125","SQF20236815 WA"]
["45.","Belgyógyászat 18 krt","GE","B125","SQF20236828 WA"]
["46.","Belgyógyászat Covid2","Medcaptain","MP-30A",91350120069289]
["47.","Belgyógyászat Covid2","Medcaptain","MP-30A",91350120069587]
["48.","Belgyógyászat Covid2","Medcaptain","MP-30A",91350120069254]
["49.","Belgyógyászat Covid2","Medcaptain","MP-30A",91350120069398]
["50.","Belgyógyászat Covid2","Medcaptain","MP-60A",91380120061066]
["51.","Belgyógyászat Covid2","Medcaptain","MP-60A",913801200514558]
["52.","Belgyógyászat, (ITO?)","Enmind","EN-S7",71200525418]
["53.","Bőrgondozó","OMSZÖV","Cauter EN-KA/R OE911",1003301]
["54.","Bőrgondozó","OMSZÖV","Cauter EN-KA/R OE911","87/022"]
["55.","CT Labor","PHYSIO CONTROL","LIFEPAK CR Plus",44079525]
["56.","CT Labor","Mindray","PM 9000"]
["57.","Diabetológia","GE","MAC600","SF715062784PA"]
["58.","Fertőző","PHYSIO CONTROL","Lifepak 15","49090677"]
["59.","Fertőző","Biolight","Q5-TS/II","q068e042055"]
["60.","Fertőző","Biolight","Q5-TS/II","q068e042934"]
["61.","Fertőző osztály","Enmind","EN-S7",71200525090]
["62.","Fertőző osztály","Enmind","EN-S7",71200524974]
["63.","Fertőző osztály","Enmind","EN-S7",71200520894]
["64.","Fertőző osztály","Enmind","EN-S7",71200525088]
["65.","Fertőző osztály","Enmind","EN-V7",70200523762]
["66.","Fertőző osztály","GE","B125","SQF20225741 WA"]
["67.","Fertőző osztály","GE","B125","SQF20236819 WA"]
["68.","Fertőző osztály","GE","B125","SQF20236832 WA"]
["69.","Fertőző osztály","GE","B125","SQF20236816 WA"]
["70.","Fertőző osztály","GE","B125","SQF20236821 WA"]
["71.","Fertőző osztály","GE","B125","SQF20236833 WA"]
["72.","Fertőző osztály","GE","B125","SQF20236834 WA"]
["73.","Fertőző osztály","GE","B125","SQF20225742 WA"]
["74.","Fertőző osztály","GE","B125","SQF20225747 WA"]
["75.","Fertőző osztály","GE","B125","SQF20225803 WA"]
["76.","Fertőző osztály ","Hellige","EK51",11241]
["77.","Fertőző osztáy","GE","MAC600","SP516420038PA"]
["78.","Fül orr gége szakrendelés","OMSZÖV","OE 63",74053]
["79.","Gasztroenterológia","Olympus","ESG 100","15048P500004"]
["80.","Gasztroenterológia","Olympus","PSD 20",7701265]
["81.","Gasztroenterológia","Hitachi","EUB 5500 E","SE10300504"]
["82.","Gége műtő","Blanco","BMT-400/1",8888]
["83.","Gégészet","PHYSIO CONTROL","LIFEPAK20E",44058159]
["84.","Gégészet","Mortara","ELI150",106286299167]
["85.","Gégészet","Storz","Modell 0621","00164 (leltári)"]
["86.","Gyermekosztály","Medcaptain","MP-30A",91350120069092]
["87.","Gyermekosztály","Medcaptain","MP-30A",91350120069069]
["88.","Gyermekosztály","Medcaptain","MP-30A",91350120068615]
["89.","Gyermekosztály","Medcaptain","MP-30A",91350120068587]
["90.","Gyermekosztály","Medcaptain","MP-60A",913801200513380]
["91.","Gyermekosztály","Medcaptain","MP-60A",913801200513602]
["92.","Gyermekosztály","Alaris","GW 800",800017621]
["93.","Gyermekosztály","Biolight","Q5-TS/II","q068e043206"]
["94.","Gyermekosztály","Marquette Hellige","Eagle 3100","A7LP00857"]
["95.","Gyermekosztály","PHYSIO CONTROL","LIFEPAK CR Plus","39078567"]
["96.","Gyermekosztály","GE","MAC 400","SCT08492232PA"]
["97.","Gyermekosztály","Marquette","Mac PC",9598]
["98.","Gyógyfürdő","Innomed","9200RD","311760"]
["99.","Gyógyfürdő emelet","OMSZÖV","Elektrother Combi OE-304","05/151/14"]
["100.","Gyógyfürdő emelet","OMSZÖV","Ministim OE 160/B","07/065"]
["101.","Gyógyfürdő emelet","OMSZÖV","Medinther OE-308","05/351/05"]
["102.","Gyógyfürdő emelet","Kondi Bt","Nervostim KLM 200","09NT019"]
["103.","Gyógyfürdő emelet","OMSZÖV","Sonother Combi OE-309","05/242/11"]
["104.","Gyógyfürdő földszint","OMSZÖV","OE 160/B","17/561/070"]
["105.","Gyógyfürdő földszint","OMSZÖV","Nervostat/A","75038"]
["106.","Gyógyfürdő földszint","OMSZÖV","Nervostat/A","16790"]
["107.","Gyógyfürdő földszint","OMSZÖV","Nervostat/A","86008"]
["108.","Gyógyfürdő földszint","OMSZÖV","OE 201","16201"]
["109.","Gyógyfürdő földszint","OMSZÖV","OE 302"]
["110.","Gyógyfürdő földszint","Kondi Bt","Interstim KLM 202","98IT0924"]
["111.","Gyógyfürdő földszint","OMSZÖV","OE 160/B","15/158"]
["112.","Gyógyfürdő földszint","OMSZÖV","Nervostat/A","8639"]
["113.","Gyógyfürdő földszint","OMSZÖV","OE 160/B","16/198"]
["114.","Gyógyfürdő földszint","OMSZÖV","Ultron Kombi OE 103",84103]
["115.","Gyógyfürdő földszint","Mela","Sonar B","LSZ: 90091319122"]
["116.","Gyógyfürdő földszint","Kondi Bt","Nervostim KLM 200","99NT0612"]
["117.","Gyógyfürdő földszint","PEM Medic","Interdyn-ID99","048"]
["118.","Gyógyfürdő földszint","OMSZÖV","Nervostat/A","LSZ: 03175 1319123"]
["119.","Gyógyfürdő földszint","OMSZÖV","OE 228","04/841/15"]
["120.","Gyógyfürdő földszint","OMSZÖV","OE 228","04/841/14"]
["121.","Gyógyfürdő földszint","OMSZÖV","OE 228","04/841/16"]
["122.","Gyógyfürdő földszint","OMSZÖV","OE 208 négyrekeszes galván","05/451/05"]
["123.","Gyógyfürdő földszint","OMSZÖV","Elektrother Combi OE-304","05/741/08"]
["124.","Gyógyfürdő Nappali Kórház","von Berg Medizingerate","Bioset 3700",704011]
["125.","Gyógyszertár","Labor Innova","VSH 095",131]
["126.","Intenzív osztály","Corposano","KS 1/A1","737/10"]
["127.","Intenzív osztály","Medcaptain","MP-30A",91350120068518]
["128.","Intenzív osztály","Medcaptain","MP-30A",91350120068893]
["129.","Intenzív osztály","Medcaptain","MP-30A",91350120068538]
["130.","Intenzív osztály","Medcaptain","MP-30A",91350120068530]
["131.","Intenzív osztály","Medcaptain","MP-30A",91350120068306]
["132.","Intenzív osztály","Medcaptain","MP-30A",91350120068341]
["133.","Intenzív osztály","Medcaptain","MP-30A",91350120068330]
["134.","Intenzív osztály","Medcaptain","MP-30A",91350120068335]
["135.","Intenzív osztály","Medcaptain","MP-60A",91380120061324]
["136.","Intenzív osztály","Medcaptain","MP-60A",91380120061211]
["137.","Intenzív osztály","Medcaptain","MP-60A",913801200512991]
["138.","Intenzív osztály","Medcaptain","MP-60A",913801200513511]
["139.","Intenzív osztály","Enmind","EN-S7",71200524348]
["140.","Intenzív osztály","Enmind","EN-S7",71200524954]
["141.","Intenzív osztály","Enmind","EN-S7",71200525438]
["142.","Intenzív osztály","Enmind","EN-S7",71200525121]
["143.","Intenzív osztály","Enmind","EN-S7",71200523398]
["144.","Intenzív osztály","Enmind","EN-S7",71200524989]
["145.","Intenzív osztály","Enmind","EN-S7",71200524631]
["146.","Intenzív osztály","Enmind","EN-S7",71200523239]
["147.","Intenzív osztály","Enmind","EN-S7",71200525049]
["148.","Intenzív osztály","Enmind","EN-S7",71200523669]
["149.","Intenzív osztály","Enmind","EN-S7",71200524754]
["150.","Intenzív osztály","Enmind","EN-S7",71200525114]
["151.","Intenzív osztály","Enmind","EN-S7",71200525474]
["152.","Intenzív osztály","Enmind","EN-S7",71200525179]
["153.","Intenzív osztály","Enmind","EN-S7",71200522281]
["154.","Intenzív osztály","Enmind","EN-S7",71200524525]
["155.","Intenzív osztály","Enmind","EN-S7",71200525410]
["156.","Intenzív osztály","Enmind","EN-S7",71200525505]
["157.","Intenzív osztály","Enmind","EN-S7",71200523845]
["158.","Intenzív osztály","Enmind","EN-S7",71200525050]
["159.","Intenzív osztály","Enmind","EN-S7",71200525885]
["160.","Intenzív osztály","Enmind","EN-S7",71200524965]
["161.","Intenzív osztály","Enmind","EN-S7",71200524319]
["162.","Intenzív osztály","Enmind","EN-S7",71200524566]
["163.","Intenzív osztály","Enmind","EN-S7",71200524181]
["164.","Intenzív osztály","Enmind","EN-S7",71200525464]
["165.","Intenzív osztály","Enmind","EN-V7",70200523768]
["166.","Intenzív osztály","Enmind","EN-V7",70200523787]
["167.","Intenzív osztály","Enmind","EN-V7",70200523765]
["168.","Intenzív osztály","Enmind","EN-V7",70200523786]
["169.","Intenzív osztály","Enmind","EN-V7",70200523747]
["170.","Intenzív osztály","Enmind","EN-V7","70200520352 vagy  71200520362"]
["171.","Intenzív osztály","Enmind","EN-V7",70200523785]
["172.","Intenzív osztály","B.Braun","Compact",841]
["173.","Intenzív osztály","B.Braun","Compact",7862]
["174.","Intenzív osztály","B.Braun","Compact"]
["175.","Intenzív osztály","B.Braun","Compact"]
["176.","Intenzív osztály","B.Braun","Compact"]
["177.","Intenzív osztály","B.Braun","Compact"]
["178.","Intenzív osztály","B.Braun","Compact",200600]
["179.","Intenzív osztály","B.Braun","Compact",200637]
["180.","Intenzív osztály","B.Braun","Compact",200635]
["181.","Intenzív osztály","B.Braun","Compact",200636]
["182.","Intenzív osztály","B.Braun","Compact",200639]
["183.","Intenzív osztály","B.Braun","Infusomat Space",256570]
["184.","Intenzív osztály","Innomed","TOP-X 100 MS digitális mobil rtg",15236013]
["185.","Intenzív osztály","Philips","Mobile Diagnost wDR digitális mobil rtg",21410110]
["186.","Intenzív osztály","Alpinion","E-Cube i7"]
["187.","Intenzív osztály","SonoScape","SonoScape X3",484007836]
["188.","ITO","PHYSIO CONTROL","LIFEPAK20E","44058658"]
["189.","ITO","PHYSIO CONTROL","LIFEPAK20","32895472"]
["190.","ITO","PHYSIO CONTROL","LIFEPAK20","32905372"]
["191.","ITO","Aeonmed","VG70","XZZU5299"]
["192.","ITO","Aeonmed","VG70","XZZT16516"]
["193.","ITO","Aeonmed","VG70","XZZT16371"]
["194.","ITO","Aeonmed","VG70","XZZU8913"]
["195.","ITO","Aeonmed","VG70","XZZT15089"]
["196.","ITO","Mindray","SV 300","GB-98010279"]
["197.","ITO","Mindray","SV 300","GB-98010672"]
["198.","ITO","Heraeus","Mobil vizsgálólámpa","n.a."]
["199.","ITO","GE","B125","SQF20225784 WA"]
["200.","ITO","GE","B125","SQF20225731 WA"]
["201.","ITO","GE","B125","SQF20225776 WA"]
["202.","ITO","GE","Carescape B650","SK415481272HA"]
["203.","ITO","GE","Carescape B650","SK415481273HA"]
["204.","ITO","GE","Carescape B650","SK415481274HA"]
["205.","ITO","GE","Carescape B650","SK415481275HA"]
["206.","ITO","GE","Carescape B650","SK415481276HA"]
["207.","ITO","GE","Carescape B650","SK415481277HA"]
["208.","ITO","NUOVA",5,16014022]
["209.","Központi Laboratórium",null,"ELC-3870",2111076]
["210.","Központi rtg","Innomed","TOP-X DR TRAUMA mennyezeti csöves",15255003]
["211.","Központi rtg","Innomed","TOP-X DR CLASSIC padlóra szerelt",152560003]
["212.","Központi rtg","Innomed","TOP-X DR CLASSIC",152560004]
["213.","Központi rtg","Innomed","MRXTEL NG II felvételező és átvilágító",15254005]
["214.","Központi rtg","Trophy","Orthoslice 1000C fogászati panoráma és cephalo",6300263]
["215.","Központi rtg","Hitachi - Aloka","F-37","V0002150"]
["216.","Központi rtg mammográfia","Siemens","Mammomat Inspiration",4565]
["217.","Központi rtg Mammográfia","Siemens","Acuson S1000",208049]
["218.","Központi rtg Mammográfia","Alpinion","E-Cube 8 LE ","L02954"]
["219.","Központi steril","Getinge","GSS 6710","2534792-010-01"]
["220.","Központi steril","Getinge","GSS 6710","2534792-010-02"]
["221.","Központi steril","Johnson & Johnson","Sterrad NX",150397]
["222.","Krónikus Belgyógyászat","Innomed","Heart Screen 112C-1",21239283]
["223.","Mozgásszervi rehab","METRAX","Primedic HeartSave AED M250","73154010490"]
["224.","Mozgásszervi rehab","Mortara","ELI 230",112130112421]
["225.","Mozgásszervi rehab","OMSZÖV","Medinther OE-308","202009051"]
["226.","Mozgásszervi rehab","OMSZÖV","Electrocombi Home OE 304","06/761/03"]
["227.","Mozgásszervi rehab","OMSZÖV","Elektrother Combi OE 307","05/151/21"]
["228.","Mozgásszervi rehab","OMSZÖV","Ultron OE-302","20131"]
["229.","Mozgásszervi rehab","OMSZÖV","Ministim OE 160/B1","20137/1702182"]
["230.","Mozgásszervi rehab","OMSZÖV","Ministim OE 160/B1","05/103"]
["231.","Mozgásszervi rehab","OMSZÖV","Medinther OE-308","10/391/03"]
["232.","Mozgásszervi rehab","OMSZÖV","Ministim OE 160/B1","06/245"]
["233.","Mozgásszervi rehab","OMSZÖV","Ministim OE 160/B1","08/045"]
["234.","Mozgásszervi rehab","OMSZÖV","Ministim OE 160/B1","Adattábla hiány/96/035"]
["235.","Mozgásszervi rehab","OMSZÖV","Elektrother Combi OE 307","12/231121/07"]
["236.","Mozgásszervi rehab","OMSZÖV","Ultron OE-302","11/011/11"]
["237.","Mozgásszervi rehab","OMSZÖV","Ultron OE-302","05/051/16"]
["238.","Mozgásszervi rehab","OMSZÖV","Elektro Combi Home OE304","1079102"]
["239.","Mozgásszervi rehab","OMSZÖV","Vacuther OE127","12/231011/05 vagy 13/231081/08"]
["240.","Mozgásszervi rehab","OMSZÖV","OE 208 négyrekeszes galván","12/226411/02"]
["241.","Mozgásszervi rehab","OMSZÖV","OE228/TE","12/229811/11"]
["242.","Mozgásszervi rehab","OMSZÖV","Medinther OE-308","12/231311/02"]
["243.","Mozgásszervi rehab","OMSZÖV","Medinther OE-308","12/231311/03"]
["244.","Mozgásszervi rehab","Corposano","KS 1/A1","280/01"]
["245.","Mozgásszervi rehab","Corposano","KS 1/A1","2937/03"]
["246.","Mozgásszervi rehab","OMSZÖV","Ultron OE-302","12/228011/04"]
["247.","Neurológia","Mindray","BeneHeart D3","EL-3C011463"]
["248.","Neurológia","GE","MAC 400","SCT08492235PA"]
["249.","Neurológia","B.Braun","Perfusor compact",200607]
["250.","Neurológia","B.Braun","Perfusor compact",200564]
["251.","Neurológia","B.Braun","Infusomat Space",263616]
["252.","Neurológia","B.Braun","Infusomat Space",263324]
["253.","Neurológia","Mindray","IPM 10","FG3B009963"]
["254.","Neurológia","Mindray","IPM 10","FG3B009964"]
["255.","Onkológia","Philips","DFM100","CN32649612"]
["256.","Onkológia","Medcaptain","MP-30A",91350120069091]
["257.","Onkológia","Medcaptain","MP-30A",91350120069103]
["258.","Onkológia","Medcaptain","MP-30A",91350120068596]
["259.","Onkológia","Medcaptain","MP-30A",91350120069086]
["260.","Onkológia","Medcaptain","MP-30A",91350120068638]
["261.","Onkológia","Medcaptain","MP-30A",91350120069120]
["262.","Onkológia","Medcaptain","MP-30A",91350120068640]
["263.","Onkológia","Medcaptain","MP-60A",913801200514361]
["264.","Onkológia","Medcaptain","MP-60A",913801200512795]
["265.","Onkológia","Medcaptain","MP-60A",91380120061224]
["266.","Onkológia","Medcaptain","MP-60A",913801200514297]
["267.","Onkológia","B.Braun","Perfusor Secura",11836]
["268.","Onkológia","B.Braun","Perfusor VII",513]
["269.","Onkológia","B.Braun","Perfusor F",11926]
["270.","Onkológia",null,"GW 800"]
["271.","Onkológia","Biolight","Q5-TS/II","q068e043496"]
["272.","Onkológia","Medirol","VM-1",918]
["273.","Pszichiátria","Innomed","CardioAid CA100B","4470938"]
["274.","Pszichiátria","Innomed","Heart Screen 112C-1",21239284]
["275.","Pszichiátria","Innomed","HeartScreen 60-IKO",15223023]
["276.","Pszichiátria","Medicor","MODUS-IP301","IAE00112"]
["277.","Rend. Int. 101.","EDAN","SE1201","01971 (leltári)"]
["278.","Rendelőintézet Aula","Mindray","BeneHeart C1A","AF1-1C026582"]
["279.","Rendelőintézet Kardiológia","Innomed","HeartScreen 21",1421010129]
["280.","Rendelőintézet Kardiológia","Philips","Philips Affiniti 50G","US915F1132"]
["281.","Rendelőintézet sebészet","Medicor",1005,11316]
["282.","Rendelőintézet Urológia","Hitachi","Hitaci EUB 405B Plus","SE15314120"]
["283.","SBO","Philips","DFM100","CN32649565"]
["284.","SBO","Nihon Kohden","TEC 7511R","00642"]
["285.","SBO","Mindray","BeneHeart D6","DG-21005287"]
["286.","SBO","Mortara","ELI 250C",116030288736]
["287.","SBO","COMEN","CM1200","901109115009U"]
["288.","SBO","EDAN","SE1201","n.a. (202303181)Lsz.:01537/370"]
["289.","SBO","COMEN","CM1200","90111112075U"]
["290.","SBO","EDAN","SE1201"]
["291.","SBO","Enmind","EN-S7",71200524349]
["292.","SBO","Enmind","EN-S7",71200524426]
["293.","SBO","Enmind","EN-S7",71200525593]
["294.","SBO","Enmind","EN-S7",71200525207]
["295.","SBO","Enmind","EN-S7",71200524732]
["296.","SBO","Enmind","EN-S7",71200525116]
["297.","SBO","Enmind","EN-S7",71200525080]
["298.","SBO","Enmind","EN-V7",71200525187]
["299.","SBO","Enmind","EN-V7",70200523761]
["300.","SBO","Enmind","EN-V7",70200523751]
["301.","SBO","CareFusion","Alaris GH",135064654]
["302.","SBO","B.Braun","Perfusor compact",652]
["303.","SBO","B.Braun","Perfusor compact",2006371720537]
["304.","SBO","B.Braun","Perfusor Compact",56713]
["305.","SBO","Aeonmed","VG70","XZZU3807"]
["306.","SBO","Aeonmed","VG70","XZZT13514"]
["307.","SBO","Aeonmed","VG70","XZZV2028"]
["308.","SBO","Medicor","ASK",402]
["309.","SBO","Medicor","ASK",102]
["310.","SBO","Medicor","ASK",202]
["311.","SBO","Berchtold","D530 Plus",11632]
["312.","SBO","Berchtold","D530 Plus",11633]
["313.","SBO","Rimsa","Tris",13113]
["314.","SBO","Berchtold","D530 Plus",11634]
["315.","SBO","Berchtold","D530 Plus",11635]
["316.","SBO","Berchtold","D530 Plus",11631]
["317.","SBO","Rimsa","D 400",13114]
["318.","SBO","Conmed","Excalibur Plus","96CGE073"]
["319.","SBO","Conmed","System 5000","11MPG079"]
["320.","SBO","Biolight","Q5","q068e047300"]
["321.","SBO","Biolight","Q5","q068e051395"]
["322.","SBO","Biolight","Q5","q068e046374"]
["323.","SBO","Biolight","Q5","q068e046857"]
["324.","SBO","Biolight","Q5","q068e046351"]
["325.","SBO","Biolight","Q5","q068e046256"]
["326.","SBO","Biolight","Q5","q068e046255"]
["327.","SBO","Mindray","uMEC 12","KQ01030755"]
["328.","SBO","Sino-Hero","S80","SHS 800732"]
["329.","SBO","Hitachi","EUB 525","SE15311131"]
["330.","SBO","Stichler Electronic","AFP 2000","FHEU05747"]
["331.","SBO","Sinomedical","SN-H10","00741180913A00478"]
["332.","SBO sokktalanító","Mindray","PM 9000"]
["333.","Sebészet","PHYSIO CONTROL","LIFEPAK20E",44056782]
["334.","Sebészet","Innomed","HeartScreen HS112C-1",21239286]
["335.","Sebészet","Braun","perfusor compact",4902190]
["336.","Sebészet","Braun","perfusor compact","03693 (leltár)"]
["337.","Sebészet","Braun","perfusor compact",200639]
["338.","Sebészet","CareFusion","Alaris GH Plus",20000517]
["339.","Sebészet","Medicor","MLM40","03302 (leltári)"]
["340.","Sebészet","Mindray","UMEC12","KQ93021328"]
["341.","Sebészet kezelő","ERBE","ICC50","B-1998"]
["342.","Sebészet műtő","PHYSIO CONTROL","LIFEPAK20","43996430"]
["343.","Sebészet műtő","Alaris","GH Plus",200008492]
["344.","Sebészet műtő","Merivaara","OP 1900","9512-20990"]
["345.","Sebészet műtő","Trumpf","Saturn GS","4544075(136901)"]
["346.","Sebészet műtő","Heraeus","Hanaulux 2003/2004","LR32396"]
["347.","Sebészet műtő","Berchtold","Chromophare D530 plus",11629]
["348.","Sebészet műtő","Berchtold","Chromophare D530 plus",11630]
["349.","Sebészet műtő","ERBE","ICC 300","A-1101"]
["350.","Sebészet műtő","ERBE","ICC 200","D-3123"]
["351.","Sebészet műtő","ERBE","ICC 200","A -1705"]
["352.","Sebészet műtő","KLS Martin","Maxium","ME402E0603166117"]
["353.","Sebészet műtő","Chirana","HS 202",75063]
["354.","Sebészet műtő","SciScan","Statim 5000","62189C2005"]
["355.","Sebészet műtő","NUOVA",5]
["356.","Sebészet szakrendelés","Medicor","MLA 40(mobil 4 égős)","1173(11316)"]
["357.","Sebészet szakrendelő","ERBE","ICC50","A-1048"]
["358.","Szájsebészet","ERBE","T71 D","E-1471(000-E-1751"]
["359.","Szájsebészet","Chirana","HS 62A",890139]
["360.","Szülészet","PHYSIO CONTROL","LIFEPAK CR Plus","44243036"]
["361.","Szülészet","Innomed","HeartScreen 21",1421010127]
["362.","Szülészet - Nőgyógyászat","Philips","Philips Affiniti 50W","US116D0804"]
["363.","Szülészet - Nőgyógyászat","Aloka Co.Ltd.","Pro Sound SSD 3500","M10239"]
["364.","Szülészet műtő","KLS Martin","Maxium","ME402E0603166116"]
["365.","Trauma szakrendelés (SBO fsz)","C.Maquet","12 22 90",424]
["366.","Trauma szakrendelés (SBO fsz)","TopLite","G6000LE-00","G60LE120201"]
["367.","Traumatológia","PHYSIO CONTROL","Lifepak 20",44056404]
["368.","Traumatológia","Innomed","HeartScreen 21",1421010126]
["369.","Traumatológia","Corposano","KS 1/A1","563/2016"]
["370.","Traumatológia","CareFusion","Alaris GH Plus",2000008511]
["371.","Traumatológia","CareFusion","Alaris GH Plus",2000008514]
["372.","Traumatológia","CareFusion","Alaris GH Plus",2000008515]
["373.","Traumatológia műtő","PHYSIO CONTROL","LIFEPAK20E","44039179"]
["374.","Traumatológia műtő","Alaris","GH Plus",200008489]
["375.","Traumatológia műtő","Medicor",1011,11320]
["376.","Traumatológia műtő","Medicor","Medium 41","OC 09931(15484)"]
["377.","Traumatológia műtő","Berchtold","Chromophare D530 plus",11676]
["378.","Traumatológia műtő","Berchtold","Chromophare D530 plus",11529]
["379.","Traumatológia műtő","KLS Martin","Marled E9i mennyezeti",174502]
["380.","Traumatológia műtő","Berchtold","Chromophare mobil","1691(09030901)"]
["381.","Traumatológia műtő","KLS Martin","Maxium","ME402E0603166115"]
["382.","Traumatológia műtő","ERBE","ICC 300","F-2042"]
["383.","Traumatológia műtő","GE","OEC Fluorostar 7900","79-S3979"]
["384.","Traumatológia műtő","Chirana","HS 122A",890207]
["385.","Traumatológia műtő","Chirana","HS 122A","90/97"]
["386.","Traumatológia műtő","NUOVA",5]
["387.","Tüdőgondozó","Innomed,Medicor","TOP-X 650HF, UV 56P/4W átvilágító","98.001.06"]
["388.","Tüdőszűrő","Innomed","TOP-X DR CLASSIC digitális rtgfelvételi munkahely",152560002]
["389.","Újszülött","Draeger","Isolette 8000","KF06203"]
["390.","Újszülött","Draeger","Isolette 8000","KF06204"]
["391.","Újszülött","Medicor","Mediroll 10HF mobil rtg","97/1758-3"]
["392.","Urol gége műtő","PHYSIO CONTROL","LIFEPAK20","43997857"]
["393.","Urol gége műtő","KLS Martin","Maxium","ME402E0603166190"]
["394.","Urol gége műtő","Storz",26021,"011-A-1921"]
["395.","Urol gége műtő","ERBE","T 400C","000-C-1134"]
["396.","Urol-gége műtő","Medicor","5601(6 égős mennyezeti)","113/8"]
["397.","Urol-gége műtő","Medicor","MLA 401(mobil 4 égős)","113/9"]
["398.","Urol-gége műtő","Medicor"," MLM 80(8égős mennyezeti)","n.a. (202303171)"]
["399.","Urológia","Philips","DFM100","CN32649687"]
["400.","Urológia","Innomed","HeartScreen 21",1421010128]
["401.","Urológia","Braun","perfusor compact",8424]
["402.","Urológia","BLT","Q5","Q068E047390"]
["403.","Urológia műtő","Alaris","GH Plus",200008489]
["404.","Urológia műtő","Medicor",40121,48435]
["405.","Urológia műtő","Orel","TCA 4R plus",1202]
["406.","Urológia műtő","SciScan","Statim 5000","6218BB0003"]
["407.","Urológia műtő","Alaris","GW 800",135355395]
[{"$nulls":7},"Összesen:"]
[{"$nulls":7},"Kiszállások:"]

{"sheet":"Deszk","index":1,"n_rows":158,"n_cols":8,"rows_kept":158,"cut":false,"hidden":false,"merged":[[0,2,0,6]]}
[null,null,"Felülvizsgálat köteles orvosi eszközök Deszk"]
["Sorszám.","Eszköz helye (leltárkörzet)  ","Gyártó","Tipus","Gyári szám","Egységár nettó","Egységár bruttó","Megjegyzés"]
["1.","Allergológiai szakrendelés ATSzeged","CARDIO GIMA","3M","EV0407-0867/NT"]
["2.","Allergológiai szakrendelés ATSzeged","Powerheart","AED G3","354691"]
["3.","Bronchológia ","Braun","INFUSOMAT SPACE X1","182008"]
["4.","Bronchológia ","Olympus","ESG-100","25159W23-101"]
["5.","Bronchológia ","EDAN ","iM80","332146-M13203340001"]
["6.","Bronchológia ","Philips","BV Endura","000338/ON:01J0GB040"]
["7.","Bronchológia ","GE","MAC2000","SMT16258728PA"]
["8.","Bronchológia ","Cardiolife","TEC 5621K","00003"]
["9.","CATO","Berner","claire C-3-130",2013000359]
["10.","COVID- ÁEEK","BLT","Q5-TS/II","q068e041995"]
["11.","COVID- ÁEEK","BLT","Q5-TS/II","q068e042105"]
["12.","COVID- ÁEEK","BLT","Q5-TS/II","q068e043374"]
["13.","COVID- ÁEEK","BLT","Q5-TS/II","q068e043435"]
["14.","COVID- ÁEEK","BLT","Q5-TS/II","q068e045256"]
["15.","COVID- ÁEEK","BLT","Q5-TS/II","q068e042084"]
["16.","COVID- ÁEEK","BLT","Q5-TS/II","q068e042752"]
["17.","COVID- ÁEEK","BLT","Q5-TS/II","q068e043377"]
["18.","COVID ELLÁTÁS - I.","BLT","Q5","Q068E052114"]
["19.","COVID ELLÁTÁS - I.","BLT","Q5","Q068E052170"]
["20.","COVID ELLÁTÁS - I.","Philips","DFM100","CN32649557"]
["21.","COVID ELLÁTÁS - II.","BLT","Q5","Q068E052176"]
["22.","COVID ELLÁTÁS - II.","BLT","Q5","Q068E052193"]
["23.","COVID ELLÁTÁS - II.","Philips","DFM100","CN32649655"]
["24.","COVID ELLÁTÁS - II.","HeartSreen","210 (iE 12 A)","I421010136"]
["25.","Echokardiográfiai ultrahang szoba","Thosiba","Aplio 300","WAD16Y2636"]
["26.","EKG diagnosztikai szoba","GE","CASE Terheléses EKG","SH711307090SA"]
["27.","EKG diagnosztikai szoba","MARQUETTE HELLIGE","SCP-912","6301"]
["28.","EKG diagnosztikai szoba","MARQUETTE HELLIGE","SCP-912","44646"]
["29.","Fizioterápiás kezelő","Sonother","Combi ","10/201/48"]
["30.","Fizioterápiás kezelő","Medinther",null,"07/06"]
["31.","Fizioterápiás kezelő","Vacuther","OE 127","07/02"]
["32.","Fizioterápiás kezelő","Medinther",null,"08/381/25"]
["33.","Fizioterápiás kezelő","Soft Lézer","KLSF-30","1607"]
["34.","Fizioterápiás kezelő","Vacuther","OE 127","16/231041/24"]
["35.","Fizioterápiás kezelő","Nervostim","KLM 200","01NT0106"]
["36.","Főorvosi szoba (földszint)","Thosiba","Aplio 50 cv","99G0554040"]
["37.","HMVHELY Stabil ernyőfénykép szűrőállomás - CSMEEK ","Philips","DuraDiagnost ","SN170008"]
["38.","HMVHELY Tüdőgyógyászati  szakrendelés -CSMEEK","Innomed","HeartScreen 112D","03007162"]
["39.","HMVHELY Tüdőgyógyászati  szakrendelés -CSMEEK","Lifepak","20e","38457621"]
["40.","Járóbeteg kardi rehab-Szeged","GE","Logiq P5","99130SU7"]
["41.","Járóbeteg kardi rehab-Szeged","GE","CASE Terheléses EKG","SHS12080612SA"]
["42.","Járóbeteg kardi rehab-Szeged","GE","MAC800","SDS11303242WA"]
["43.","Járóbeteg kardi rehab-Szeged","Lifepak","20e","41679153"]
["44.","Kardiológiai ambulancia -Ergométeres szoba","GE","CASE Terheléses EKG","SCF07502557SA"]
["45.","Kardiológiai ambulancia -Ergométeres szoba","GE","Case Basi","SCF08223161SA"]
["46.","Kardiológiai ambulancia -Ergométeres szoba","GE","MAC1200","23270"]
["47.","Kardiológiai ambulancia -Ergométeres szoba","GE","MAC1200","550039023"]
["48.","Kardiológiai ambulancia -Ergométeres szoba","GE","MAC1200","550039027 "]
["49.","Kardiológiai ambulancia -Ergométeres szoba","Cardioserv",null,"101218594",null,"képerősítő"]
["50.","Kardiológiai rehabilitációs osztály - I. emelet","Braun","Perfusor Secura","479005"]
["51.","Kardiológiai rehabilitációs osztály - I. emelet","GE","MAC1200","101054866"]
["52.","Kardiológiai rehabilitációs osztály - I. emelet","Osypka","101H","0444005"]
["53.","Kardiológiai rehabilitációs osztály - I. emelet","Mindray ","PM-9000","W34F2331R."]
["54.","Kardiológiai rehabilitációs osztály - I. emelet","Osypka","101H","0816003"]
["55.","Kardiológiai rehabilitációs osztály - I. emelet","GE","MAC1200","550056412"]
["56.","Kardiológiai rehabilitációs osztály - I. emelet","Cardiolife","TEC 5612K","00004"]
["57.","Kardiológiai rehabilitációs osztály - I. emelet","DASH",4000,"SD009058107GA"]
["58.","Kardiológiai rehabilitációs osztály - I. emelet","Mindray ","PM-9000","W34F24001OR"]
["59.","Kardiológiai rehabilitációs osztály - I. emelet","CardioAid",200,"04085046"]
["60.","Kisértékű tárgyi eszközök raktára","Powerheart","AED G3","4315636"]
["68.","Kúraszerű ellátás","Braun","Perfusor Secura","4793007"]
["69.","Kúraszerű ellátás","GE","Eagle 3000","101005157"]
["70.","Kúraszerű ellátás","Heart Scren","112C","07195104"]
["71.","Kúraszerű ellátás","Braun","Perfusor Compact S","60801"]
["72.","Kúraszerű ellátás","Braun","INFUSOMAT SPACE X1","182287"]
["73.","Kúraszerű ellátás","Braun","INFUSOMAT SPACE X1","182208"]
["74.","Kúraszerű ellátás","EDAN ","iM80","332146-M13203340002"]
["75.","Kúraszerű ellátás","EDAN ","iM80","332146-M13203340003"]
["76.","Kúraszerű ellátás","GE","MAC1600","SDE11280075NA"]
["77.","Légzésfunkciós laboratórium","MARQUETTE HELLIGE","SCP-912","42796"]
["78.","Röntgen diagnosztika","Orel ","Remote X1","8870491"]
["79.","Röntgen diagnosztika","Philips","DuraDiagnost ","12-00020"]
["80.","Röntgen diagnosztika","Philips","MobileDiagnost wDR","21410107"]
["81.","Röntgen diagnosztika","SonoScape","x3","0484137288"]
["82.","Stabil ernyőfénykép-szűrőállomás I.  -AT  Szeged","Philips","Essenta DR Compact ","1300037"]
["83.","Szeged szakrendelés-gondozás alleltár","Cardisuny","501 dx","41361672"]
["84.","Szeged szakrendelés-gondozás alleltár","Responder",1000,"101193970"]
["85.","Szegedi Tüdőgondozó","CARDIO GIMA","3M","EV0407-0868/NT"]
["86.","TBC laboratórium","gőz autokláv ","Ma 5403","402791"]
["87.","TBC laboratórium","gőz autokláv ","Ma 5403","282"]
["88.","TBC laboratórium","Hőlég sterilizáló","hőlég HS-61-A",771329]
["89.","TBC laboratórium","Hőlég sterilizáló","hőlég HS-202-A",850367]
["90.","TBC laboratórium","Hőlég sterilizáló","hőlég HS-61-A",79908]
["91.","TBC laboratórium","Hőlég sterilizáló","hőlég HS-202-A",850408]
["92.","TBC laboratórium","Herasafe","HS 12","40156351"]
["93.","Tüdőgyógyászati szakrendelés AT  - Szeged","Orel","UX-1/SG","80519 V. GEN-52-2-96-04-24"]
["94.","Tüdőgyógyászati szakrendelés AT  - Szeged","HeartScreen","112C","08195020"]
["95.","Tüdőosztály I. - II. emelet (aktív)","Syringe","SEP11S","A/17453/97N"]
["96.","Tüdőosztály I. - II. emelet (aktív)","GE","Eagle 3000","101005158"]
["97.","Tüdőosztály I. - II. emelet (aktív)","DASH",4000,"SD011071592SA"]
["98.","Tüdőosztály I. - II. emelet (aktív)","GE","MAC1600","SDE11280077NA"]
["99.","Tüdőosztály I. - II. emelet (aktív)","EDAN","ELIT V8","335001-M14604920002"]
["100.","Tüdőosztály I. - II. emelet (aktív)","BIPAP  ","Synchrony","3964589"]
["101.","Tüdőosztály I. - II. emelet (aktív)","BIPAP  ","A40","V1108183718B2"]
["102.","Tüdőosztály I. - II. emelet (aktív)","HERAsafe","lamináris box","41453321"]
["103.","Tüdőosztály I. - II. emelet (aktív)","MARQUETTE HELLIGE","SCP-912","6291"]
["104.","Tüdőosztály I. - II. emelet (krónikus)","Braun","Perfusor Secura","16943"]
["105.","Tüdőosztály I. - II. emelet (krónikus)","BLT","Q5-TS/II","q068e042214"]
["106.","Tüdőosztály I. - II. emelet (krónikus)","B.Braun","Perfusor Compact Plus-8717030","040973"]
["107.","Tüdőosztály I. - II. emelet (rehab)","GE","MAC2000","SRR19070046PA"]
["108.","Tüdőosztály I. - III. emelet (aktív)","Braun","Perfusor Secura","4793002"]
["109.","Tüdőosztály I. - III. emelet (aktív)","Braun","INFUSOMAT SPACE X1","182285"]
["110.","Tüdőosztály I. - III. emelet (aktív)","DASH",5000,"SD008035481GA"]
["111.","Tüdőosztály I. - III. emelet (aktív)","EDAN","ELIT V8","335001-M14604920001"]
["112.","Tüdőosztály I. - III. emelet (aktív)","GE","MAC1600","SDE14020107NA"]
["113.","Tüdőosztály I. - III. emelet (aktív)","BIPAP  ","Synchrony","1637110"]
["114.","Tüdőosztály I. - III. emelet (aktív)","BIPAP  ","A40","V1559329288D6"]
["115.","Tüdőosztály I. - III. emelet (krónikus)","Braun","Perfusor Compact S","60792"]
["116.","Tüdőosztály I. - III. emelet (krónikus)","EDAN ","iM80","332146-M13203340004"]
["117.","Tüdőosztály I. - III. emelet (krónikus)","BIPAP  ","Synchrony","6009279"]
["118.","Tüdőosztály I. - III. emelet (krónikus)","Resmed","Stellar 150","20130334009"]
["119.","Tüdőosztály I. - III. emelet (krónikus)","BLT","Q5-TS/II","q068e041916"]
["120.","Tüdőosztály I. - III. emelet (rehab)","Cardioserv",null,"101188101"]
["121.","Tüdőosztály II. - I. emelet (aktív)","Braun","Perfusor Secura","47916946"]
["122.","Tüdőosztály II. - I. emelet (aktív)","DASH","N5600","023409080032"]
["123.","Tüdőosztály II. - I. emelet (aktív)","Braun","Perfusor Compact S","60782"]
["124.","Tüdőosztály II. - I. emelet (aktív)","Cardioline","ar1200","ARHO0061"]
["125.","Tüdőosztály II. - I. emelet (aktív)","BIPAP  ","A40","V14740349129B"]
["126.","Tüdőosztály II. - I. emelet (aktív)","MARQUETTE HELLIGE","Microsmart","28898"]
["127.","Tüdőosztály II. - I. emelet (krónikus)","Resmed","Stellar 150","20130100600"]
["128.","Tüdőosztály II. - I. emelet (krónikus)","Resmed","Stellar 150","20130334016"]
["129.","Tüdőosztály II. - I. emelet (krónikus)","GE","MAC2000","SMT16258788PA"]
["130.","Ultrahang diagnosztika","GE","Logiq P6","99520SU9"]
[null,"Összesen:"]
[null,"Kiszállások:"]
{"$rows_empty":26}
[{"$nulls":7},"Összesen:"]
[{"$nulls":7},"Kiszállások:"]
[{"$nulls":7},"RTG"]
[{"$nulls":7},"Altató lélegeztető:"]
[{"$nulls":7},"Kiszállásokkal:"]