{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Munka1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":23,"n_cols":2,"rows_kept":23,"cut":false,"hidden":false,"merged":[]}
["Denomination:","Laboratory equipment"]
[null,"Eurolyser CUBE-POCT, or equivalent technical parameters"]
["All quantity:","2 pcs"]
[]
["Further information about device requirements:"]
[]
["Typical data, parameters","Need"]
["Test portfolio"]
["Parameter","Measurement needed"]
["ASO","Yes"]
["CRP","Yes, cv <5,0 %"]
["hsCRP","Yes, cv <5,0 %"]
["HbA1c","Yes, cv <1,2 %"]
["Cystatin C","Yes, cv <7,0 %"]
["PT (INR)","Yes, cv <5,0 %"]
["D-Dimer","Yes"]
["Ferritin","Yes"]
["Troponin I","Yes"]
["Lipoprotein (a)","Yes"]
[]
["Communications"]
["Bluetooth ","Yes"]
["USB","Yes"]