## Electrical feedthroughs, standard viewports, copper gaskets, gas matrices, tees, elbows and flanged bellows

Electrical feedthroughs

2 pcs of Sub-D Multipin feedthrough UHV CF Flange, No. of pins 9,  flange mount: DN40CF

2 pcs of UHV connectors, vacuum side, No. of pins: 9, connector type: female

2 pcs of HV connectors, air side, No. of pins: 9, connector type: female

40 pcs of  female contacts

2 pcs of Sub-D Multipin feedthrough UHV CF Flange, No. of pins 50,  flange mount: DN100CF

2 pcs of UHV connectors, vacuum side, No. of pins: 50, connector type: female

2 pcs of HV connectors, air side, No. of pins: 50, connector type: female

200 pcs of  female contacts

1 pc of USB feedthrough type: USB Hermetic, flange size: 40CF

Standard viewport

1 pc of standard, borosilicate, unexchangeable window, non-magnetic, on CF flange DN40CF

1 pc of standard, borosilicate, unexchangeable window, non-magnetic, on CF flange DN100CF

Copper Gaskets

2 pcs of DN40CF Copper Gaskets

2 pcs of  DN100CF Copper Gaskets

Fluid Feedthroughs, liquid/gas matrices

2 pcs of    flange 2-3/4" CF, tubes:1, OD:1/4", Vacuum-Side Terminations: SW male, Air-Side Terminations: SW male

Tees, elbows and flanged bellows

4 pcs of KF40 Tee

4 pcs of KF40 90 degree radius elbow

2 pcs of KF Flanged Bellows (Standard unbraided wall)  length: 40”

2 pcs of KF Flanged Bellows (Standard unbraided wall)  length: 10”