|  | Optical items |  |
| --- | --- | --- |
|  | Lenses |  |
| 1. | BK 7 Bi-Convex Lens, 25.4 mm Diameter, 50.2 mm EFL, Uncoated | 2 |
| 2. | Fused Silica Bi-Convex Lens, 25.4 mm Diameter, 25.4 mm EFL, Uncoated | 2 |
|  | Interference filters |  |
| 3. | Bandpass Filter, 25.4 mm Diameter, 550±2 nm Center, 10±2 nm FWHM | 1 |
| 4. | Bandpass Filter, 25.4 mm Diameter, 430±2 nm Center, 10±2 nm FWHM | 1 |
| 5. | Bandpass Filter, 25.4 mm Diameter, 800±2 nm Center, 12±2 nm FWHM | 1 |
| 6. | Bandpass Filter, 25.4 mm Diameter, 850±2 nm Center, 13±2 nm FWHM | 1 |
| 7. | Short-Pass Filter, 25.4mm Diameter, 650±5nm Cut-On, 415-640nm Transmittance | 1 |
| 8. | Utility Broadband Metallic Mirror, 25.4 mm in diameter | 2 |
|  | Optomechanics |  |
| 9. | XY Compact Lens Positioner, Diameter 25.4 mm | 2 |
| 10. | Stainless Steel Slotted Base, Translation Range 0.68 in. | 4 |
| 11. | 12.7 mm Stainless Steel Optical Mounting Post, 76.2 mm Height, M4 & M6 Tapped Holes | 4 |
| 12. | No Slip Optical Post Holder, 76.2 mm Height, 12.7 mm Diameter Post, M6 Thread | 4 |
| 13. | Stainless Steel Set Screw Kit, Assortment, Metric | 1 |