Technical specification of Call for Proposals #  SZTE/2023/KB13458
for Filter Paper for Newborn Screening (NBS)

Required products

| # | Name | Required quantity |
| --- | --- | --- |
| 1 | Filter paper for newborn screening | 50000 + 10 % pcs |
| 2 | Please include shipping cost to delivery address |
|  | Total net sum of the above the total sum must include shipping cost of the products |

Specifications: - please include these parameters in your offer

| Parameter | Expected specification | Bidder’s offer – please fill |
| --- | --- | --- |
| Material | The material of the screening paper is 100% cotton (without any damping strengthening material) |  |
| Weight of the screening paper | 179 g/m2 |  |
| pH level | between: 5.7-7.5 |  |
| Ash concentration | maximum 0.1 % |  |
| Diameter size of the circle which contains the dry blood | between 15-17 mm |  |
| Time of 100µl liquid’s absorption | between 5-30 seconds |  |
| Serum absorption volume | between 1.37-1.71 µl |  |
| Quality | The quality offered must be verified with IVD, ISO and CE certificates |  |
| Payment terms |  | please fill: (e.g. Net 30 Days upon receipt of product and invoice, or proforma invoice etc) |
| Delivery terms and delivery lead time |  | please fill: … days/weeks etc upon receipt if order OR … days/weeks etc upon receipt of payment etc |

Formal requirements of the offers. Please include these data in your proposal:

- Please refer to SZTE/2023/KB13458

- Name of the bidder company, address. Please note that the bidder company, the contracting company and the invoicing company must be the same. If you have more than one company/ subsidiaries please provide the name of the invoicing company. (In case the bidder company outsources the invoicing, please notify us before the tender deadline)

- Customer name: University of Szeged, Dugonics tér 13. H-6720 Szeged, Hungary, VAT No: HU19308650

- The NET price for the products (of the required quantity specified above) + all the expenses (e.g. shipping to Szeged, Hungary; handling etc.) and the net total sum. Please include the relevant currency. Accepted currencies: HUF, EUR, USD, GBP, SEK, CHF, NOK, DKK, CAD, AUD, JPY, CZK.

  - Please note that quoted net price (subtotals and totals) must match the prices listed in the final invoice to be issued upon delivery and no further costs can be charged.

  - Please note that in case shipping/handling cost is not clearly listed in the offer, we will assume that the total cost includes shipping/handling cost, and no further shipping/handling cost can be charged.

  - Please do not add bank charge and customs clearance fees. These will be paid separately, by customer.

  - Please include the net total sum and the currency. Bids can be submitted in one currency only.

  - (In case a bidder needs to pay additional taxes, fees, licenses etc after the products/services offered, in their country, they are kindly requested to be aware of that and consider these extra cost when calculating the offer net total price.)

  - If the bidder is a Hungarian company, with a Hungarian tax/VAT number, a Hungarian business address and a Hungarian bank account, the VAT amount may be included in the offer. If bidder is not a Hungarian company located outside Hungary and has a non-Hungarian tax/VAT number, a non-Hungarian bank account number, VAT should not be indicated in the offer, or alternatively: 0% VAT, or 0 EUR or 0 USD.

- Terms of delivery /delivery lead time

- Terms of payment (such as net 60 days, or net 30 days or prepayment etc.). Our University prefers to pay with wire transfer.

- Quote validity and/or quote issue date.

  - The quotation should be preferably valid for 60 days, due to excessive evaluation period, but at least for 30 days, if possible.

  - Quote validity day should be not earlier than the deadline of the tender.

  - Quote issue date should not be earlier than the starting date of the call for proposals.

- Please include the specification in your offer (so that it can be clearly evaluated whether it matches all the specified features)

- Warranty/guarantee terms, if applicable

Thank you very much in advance for your cooperation!

Version date: November 02, 2023.

Please upload your offer via the website of the Call for the Proposal, 
No. SZTE/2023/KB13458