Optikai elemek termékleírása:

| Igényelt mennyiség/ db | Termékleírás |
| --- | --- |
| 1 | PerformancePlus Breadboard - 900 mm x 750 mm x 110 mm |
| 1 | IsoPlate Isolation System, 600 x 600 x 90 mm |
| 1 | 658 nm, 7.5 mW, C Pin Code, SM Fiber-Pigtailed Laser Diode, FC/PC |
| 1 | ESD Protection and Strain Relief, Pin Codes C and H, 3.3 V |
| 1 | L-Bracket for Fiber Pigtail |
| 2 | 633 nm, f = 4.43 mm, NA = 0.56 FC/PC Fiber Collimation Pkg. |
| 2 | 1310 nm, f = 4.64 mm, NA = 0.53 FC/PC Fiber Collimation Pkg. |
| 2 | 1550 nm, f = 4.67 mm, NA = 0.53 FC/PC Fiber Collimation Pkg. |
| 8 | Cage Assembly Rod, 8" Long, dia. 6 mm, Qty. 1 |
| 4 | SM1-Threaded 30 mm Cage Plate, 0.5" Thick, 2 Retaining Rings, Metric |
| 2 | 30 mm Cage System, XY Translating Lens Mount for diam. 1" Optics |
| 2 | SM05 Adapter for diam. 11 mm Collimators |
| 2 | Adapter with External SM1 Threads and Internal SM05 Threads, 0.15" Thick |
| 2 | 25 mm Translation Stage |
| 2 | PT-Series Angle Bracket |
| 2 | Diam. 1" Precision Kinematic Mirror Mount, 3 Adjusters |
| 2 | Kinematic Mount for diam. 1" Optics |
| 2 | Post-Mounted Iris Diaphragm, diam. 15.0 mm Max Aperture |